LIST OF APPROVED MAKE OF A C C E P T A B L E    MATERIALS

ENTIRE MATERIAL LISTED BELOW SHOULD BE FIRST APPROVED BY THE BANK AND CONSULTANT BEFORE EXECUTING)

| S. No. | Item | Specified Material |  |
| --- | --- | --- | --- |
| 1 | False Ceiling- |  |  |
|  | 1)Gypsum Board | 1). 12.5mm thick Gypsum Board of Gypsum India Ltd. with sections of 26 gauge GI sheet of “Gypsum India Ltd.” Company or equivalent. |  |
|  | 2)Armstrong Tiles | 2). Armstrong 600x600x(12-15 mm thick) perforated tiles as per “Armstrong Pvt. Ltd.” company’s specifications or equivalent. |  |
| 2 | Aluminum Sections | 16-18 Gauge anodized Aluminum tubular sections with 20 micron (black) of 50x50mm, 50x40mm for partition and 16-18 gauge anodized Aluminum sections of 40x115mm for bottom rail & top rails of doors, 40x150mm lock rail and 40x20mm plain for shutters of the sliding window. or equivalent. |  |
|  |  | All aluminum section to be anodized in black shade and shall be of “Jindal/Nalco/ Hindalco or equivalent.”. |  |
|  | 1.Partition |  |  |
|  | 2.Door |  |  |
| 3 | Aluminum Grill | Aluminum grill of 8- 10 mm dia. rod with 75x75mm mesh DG 202 of “Jindal/Nalco/Hindalco or equivalent.” |  |
| 4 | MDF/Particle Board | 12 mm thick both side laminated “Greenlam /Archidlam /Century or equivalent.” with Ivory/ Beige shade BSL, Interior grade IS: 12823. |  |
| 5 | 1.Plywood/ Block Board (BWP/BWR) | 1) Phenol bonded, water proof, plywood of all required thickness (6mm,9mm, 12mm, 19mm and 25mm) of “Century, Duro, Archid or equivalent.” conforming to IS: 303, IS: 710 & IS:1659 |  |
|  | 2. Plywood/ Block Board | 2) MRIS: 303. |  |
| 6 | Wood | Well-seasoned teak-wood |  |
| 7 | Moulding & Lipping | 1st Quality Teak Wood . |  |
| 8 | Wood Preservative | “ASIAN/ NEROLAC/ BERGER/ICI/ DULUX or equivalent.” |  |
| 9 | Adhesive | “FEVICOL ( SH)/ PIDILITE or equivalent.” |  |
| 10 | Glass | Plain float glass “Modi / Saint Gobain or equivalent.” of all thickness |  |
| 11 | Lock/Night Latches | “GODREJ/ LINK/HARRISON or equivalent.” |  |
| 12 | Hydraulic Door closer | “DORMA, GODREJ or equivalent.” confirming to IS:3564:1986 |  |
| 13 | Floor Spring (Double action 100 kg. -150 kg) | “GODREJ, DORMA or equivalent.” confirming to IS: 6315:1992 & IS:7197:1972 |  |
| 14 | Drawer Channel/ Slider (Telescopic) | Sleek computer keyboard slide of required lengh mounting telescopic, steel ball slider STDS series keyboard of “EARL BIHARI, EBCO, HETTICH, GODREJ or equivalent.”. |  |
| 15 | Key Board Drawer/Tray | Ready to use, computer keyboard tray KBT series keyboard of “EARL BIHARI , EBCO, HETTICH, GODREJ or equivalent.”. |  |
| 16 | Hard ware | All the necessary hardware shall be of ISI marked with best quality/ and as per Bank’s approval. |  |
| 17 | Teak wood | Beading and Moulding to be of first quality teak wood. |  |
| 18 | Paint | 1.Acrylic paint/ Luster Paint:- “ROYALE, ICI, ASIAN DULUX/NEROLAC or equivalent.” |  |
|  | Off white, Desert White, Cream | 2.Oil bound distemper:- “ROYALE, ICI, ASIAN DULUX/NEROLAC or equivalent.” |  |
|  |  | 3. Synthetic Enamel Paint:- “ROYALE, ICI, ASIAN DULUX/NEROLAC or equivalent.” |  |
|  |  | 4. Texture Paint:- “WEATHER COAT, EXTERIOR, APEX, SNOCEM, ASIAN or equivalent.” Exterior Crusade 0684 |  |
| 19 | Flooring | 1. Vitrified tiles: - 600x600x (8-10 mm thick) Premium Range “NITCO/ MARBONITE/ JOHNSON or equivalent.” |  |
|  | (Off white) | 2. Ceramic Tiles:-“NITCO/ MARBONITE / JOHNSON or equivalent.” |  |
|  |  | 3. Vinyl Flooring:- 2mm thick “Royale, LG, ASIAN KRISHNA, ARMSTRONG or equivalent.” |  |
| 20 | Roller /Venetian Blinds (Off white, Abstract Beige B/O-0002 | “VISTA, MAC, AUROLUX or equivalent.”. |  |
| 21 | Chairs with fabric Red and Blue as per Bank’s standardization | “GODREJ, METHODEX, FEATHERLITE, DURIAN, WIPRO, AMARDEEP or equivalent.” (High, Mid, Low back and visitors chairs) |  |
| 22 | Visitors Seating | Chrome plated Perforated seats OF ABOVE BRANDS |  |
|  |  | 3seater and 2seater |  |
| 23 | Rubber/ Polyurethane /Tapestry/Leather Foam | Foam of all thickness of 40-50 density HD U- Foam of “Dunlop, MM, TATA or equivalent.”. |  |
| 24 | Wash Basin | Vitreous China, conforming to IS: 2556 “Hindware /Cera /Johnson /Parryware or equivalent.”. |  |
| 25 | WC (EWC/Orissa Pan) | Vitreous china, conforming to IS:2556 “HINDWARE/CERA/JOHNSON/PARRYWARE or equivalent.”. |  |
| 26 | GI Pipes | “C”- Class GI pipes, for all the diameters, “JINDAL, BINDAL, TATA or equivalent.” |  |
| 27 | Tap & Flush cock | CP Finish bib cock and pillar cock, flush cock. “PLUMBER, JENITH, JAL, JAGUAR, MAC,BELL or equivalent.” |  |
| 28 | Sink | Stainless steel sink. “NIRALI or equivalent.” |  |
| 29 | Cement | Best quality, 53 Grade (OPC)- “ACC, AMBUJA, BINANI, BIRLA or equivalent. confirming to IS:1489-1976 |  |
| 30 | Steel | Hot rolled deformed bars confirming to IS:1139-1966 (Fe-415 HYSD) “TATA, Jindal, Rathi SAIL, RINL” |  |
| 31 | Aggregates | Aggregates shall comply with the requirements of IS:383-1970 |  |
| 32 | Brick Works | All brick work shall confirm to IS:2212-1962 |  |
| 33 | Reinforcement Bending and Fixing Works | Bending and fixing of bars for concrete works shall be as per IS:2502-2009 |  |
| 34 | RCC/PCC Works | All RCC/PCC works shall confirm to IS:456-2000 |  |
| 35 | Aluminum Composite Panel | “Alstone / Alucobond /Eurobond or equivalent.” |  |
| 36 | Modular Work Stations | “Godrej, Methodex, Wipro, Shapoorji Paloonji, Featherlite or equivalent.” |  |

ELECTRICAL

| S. N. | Items | Make | Code |
| --- | --- | --- | --- |
| 1 | MCCBs, MCBs, ELCBS, RCCBs, DB, ICTPN, TP, HRC fuse, Change over switch, Switch Fuse Unit | L&T, Legrand, Siemens or as equivalent. | IS: 8828 for MCB IS:13947 for MCCB IS:12640 for RCCB IS:13703 for HRC fuse IS:13947 for SFU |
| 2 | FRLS insulated Elect. Wires Sheathed/ unsheathed, Flexible LT cable, Multi core/single core Cable, Flat cable for submersible pumps | Finolex, Polycab, RR or as equivalent. | IS: 694 for PVC cable 1.1 KV GRADE-FRLS |
| 3 | Rotary Switches. Selector Switches | L&T, GE, ABB, Siemens or as equivalent. | Relevant IS |
| 4 | Exhaust fan ,Pedestal fans, Ceiling fan | Crompton, Orient, Usha or as equivalent. | IS: 374 for ceiling fan IS: 2312 for Exhaust fan |
| 5 | Electronic Energy Meter | L&T,HPL, ABB or as equivalent. | IS:13779/1999 |
| 6 | Central Air Conditioning Plants , Package type plant ,Window/Split AC, Cassette type AC | Toshiba, Daikin, Hitachi or as equivalent. | *Only 3 star and above rating in Window/Split/Cassette AC |
| 7 | Electrical accessories Modular -switch, Plugs sockets, ceiling rose, Angle holder, holders | Crabtree, MK, Legrand or as equivalent. | IS: 3854 for switches IS: 1293 for plugs& sockets IS: 371 for ceiling rose IS: 1258 for lamp holder Bakelite |
| 8 | Bell Buzzer | Anchor, Cona, Leader or as equivalent. | IS:2268 |
| 9 | Electronic fan regulator | Crabtree, MK, Legrand or as equivalent. | IS:11037 |
| 10 | PVC Conduit pipe & Casing -capping for electrical wiring | AKG, Setia, BEC (ISI) 2 mm thick or as equivalent. | IS:9537/93 |
| 11 | Current Transformer | Siemens, L&T, Schneider or as equivalent. | IS: 2705 |
| 12 | Relays | Siemens, L&T, ABB, BHEL, GE or as equivalent. | IS: 3231/65 |
| 13 | Data Cable | D Link or as equivalent. | (With 15 years certification) |
| 14 | Light Fittings | LED – Philips/Osram or as equivalent. |  |
| 15 | Telephone Cable | Delton, Finolex, National or as equivalent. | (Conductor dia – 0.61 sqmm) |
| 16 | Industrial Socket with box | MDS Legrand – 32 amp / Hager L&T or as equivalent. |  |
| 17 | Changeover Switches | Havells – On Load (Euro Load) or as equivalent. |  |
| 18 | Panel Board | 16 swg CRCA sheet steel | Fabricated and vermin proof and dust proof with necessary stiffners with indicators of Tele mechenique / L&T and Input/ Output Volt & Ampere Meter |

SPECIFICATION OF WORKMANSHIP: -

1)      All the exposed surfaces (that come in first sight or in direct vision) such as top/ front/ sides of counter, table etc. shall be covered with laminates/ tapes/border.

2)      All the hidden exposed surfaces (that does not come in first sight or in direct vision) shall be finished with 0.8 mm thick laminate of Green lam/ Archidlam / Sunmica/ Formica and there shall be no putty, primer or any oil bonded synthetic enamel paint in these areas.

3)      All the exposed edges and corners of plywood of 12mm & 18mm shall be protected by nailing wooden beads/border of required size.

4)      All the wooden beading/batons shall be finished with high-class sprit polish in natural shade.

5)      All the exposed edges and corners of furniture shall be comfortably and smoothly chamfered/ rounded off to avoid any sharp and pointed ends.

6)      A good surface preparation shall be done prior to applying primer/putty/paint/polish either on walls, ceiling or on furniture.

7)      All the finishing shall be done with due care & perfection so that final quality/look/appearance/glare/shine achieved is of the required standard and satisfaction.

8)      All the operative units/members of items, fixed hardware/ fittings/ fixture etc. such as locks, levers, hinges, door closures, latches etc. shall be adequately smooth and well in operation/performance at the time of handing over work/site to the Bank.

Name, Signature of the Auth. Signatory, with date, company/firm’s stamp